## SINAMICS G120D
Типоразмер | Мощность, кВт | Номинальный ток, А | Силовой модуль PM250D со встроенным ЭМС-фильтром класса А | Управляющий модуль | Встроенный коммуникационный интерфейс | Тип Управляющего модуля | Описание Управляющего модуля | Панель оператора IOP ручной терминал | Соединительный кабель RS232 | Предохранитель (рекомендация) (кол-во 1 шт.) | Автоматический выключатель (рекомендация) | Комплект запасных частей для SINAMICS G120D | Запасные крышки для CU240D-2 PN-F PP и CU250D-2 PN-F PP крышки 24 V Push Pull PLUG PRO (1 упаковка = 5 шт.) | Запасные крышки для CU240D-2 PN-F PP и CU250D-2 PN-F PP крышки RJ45 PLUG PRO (1 упаковка = 5 шт.) | Запасной вентилятор
FSA | 0.75 | 2.2 | 6SL3525-0PE17-5AA1 | 6SL3544-0FB20-1PA0 | PROFIBUS DP | CU240D-2 DP | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSA | 1.5 | 4.1 | 6SL3525-0PE21-5AA1 | 6SL3544-0FB20-1PA0 | PROFIBUS DP | CU240D-2 DP | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSB | 3 | 7.7 | 6SL3525-0PE23-0AA1 | 6SL3544-0FB20-1PA0 | PROFIBUS DP | CU240D-2 DP | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3805 | 3RV2011-4AA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSC | 4 | 10.2 | 6SL3525-0PE24-0AA1 | 6SL3544-0FB20-1PA0 | PROFIBUS DP | CU240D-2 DP | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 5.5 | 13.2 | 6SL3525-0PE25-5AA1 | 6SL3544-0FB20-1PA0 | PROFIBUS DP | CU240D-2 DP | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 7.5 | 19 | 6SL3525-0PE27-5AA1 | 6SL3544-0FB20-1PA0 | PROFIBUS DP | CU240D-2 DP | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3812 | 3RV2021-4PA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSA | 0.75 | 2.2 | 6SL3525-0PE17-5AA1 | 6SL3544-0FB20-1FA0 | PROFINET | CU240D-2 PN | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSA | 1.5 | 4.1 | 6SL3525-0PE21-5AA1 | 6SL3544-0FB20-1FA0 | PROFINET | CU240D-2 PN | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSB | 3 | 7.7 | 6SL3525-0PE23-0AA1 | 6SL3544-0FB20-1FA0 | PROFINET | CU240D-2 PN | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3805 | 3RV2011-4AA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSC | 4 | 10.2 | 6SL3525-0PE24-0AA1 | 6SL3544-0FB20-1FA0 | PROFINET | CU240D-2 PN | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 5.5 | 13.2 | 6SL3525-0PE25-5AA1 | 6SL3544-0FB20-1FA0 | PROFINET | CU240D-2 PN | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 7.5 | 19 | 6SL3525-0PE27-5AA1 | 6SL3544-0FB20-1FA0 | PROFINET | CU240D-2 PN | Standard | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3812 | 3RV2021-4PA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSA | 0.75 | 2.2 | 6SL3525-0PE17-5AA1 | 6SL3544-0FB21-1PA0 | PROFIBUS DP | CU240D-2 DP-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSA | 1.5 | 4.1 | 6SL3525-0PE21-5AA1 | 6SL3544-0FB21-1PA0 | PROFIBUS DP | CU240D-2 DP-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSB | 3 | 7.7 | 6SL3525-0PE23-0AA1 | 6SL3544-0FB21-1PA0 | PROFIBUS DP | CU240D-2 DP-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3805 | 3RV2011-4AA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSC | 4 | 10.2 | 6SL3525-0PE24-0AA1 | 6SL3544-0FB21-1PA0 | PROFIBUS DP | CU240D-2 DP-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 5.5 | 13.2 | 6SL3525-0PE25-5AA1 | 6SL3544-0FB21-1PA0 | PROFIBUS DP | CU240D-2 DP-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 7.5 | 19 | 6SL3525-0PE27-5AA1 | 6SL3544-0FB21-1PA0 | PROFIBUS DP | CU240D-2 DP-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3812 | 3RV2021-4PA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSA | 0.75 | 2.2 | 6SL3525-0PE17-5AA1 | 6SL3544-0FB21-1FA0 | PROFINET | CU240D-2 PN-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSA | 1.5 | 4.1 | 6SL3525-0PE21-5AA1 | 6SL3544-0FB21-1FA0 | PROFINET | CU240D-2 PN-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSB | 3 | 7.7 | 6SL3525-0PE23-0AA1 | 6SL3544-0FB21-1FA0 | PROFINET | CU240D-2 PN-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3805 | 3RV2011-4AA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSC | 4 | 10.2 | 6SL3525-0PE24-0AA1 | 6SL3544-0FB21-1FA0 | PROFINET | CU240D-2 PN-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 5.5 | 13.2 | 6SL3525-0PE25-5AA1 | 6SL3544-0FB21-1FA0 | PROFINET | CU240D-2 PN-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 7.5 | 19 | 6SL3525-0PE27-5AA1 | 6SL3544-0FB21-1FA0 | PROFINET | CU240D-2 PN-F | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3812 | 3RV2021-4PA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSA | 0.75 | 2.2 | 6SL3525-0PE17-5AA1 | 6SL3544-0FB21-1FB0 | PROFINET | CU240D-2 PN-F PP | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | -
FSA | 1.5 | 4.1 | 6SL3525-0PE21-5AA1 | 6SL3544-0FB21-1FB0 | PROFINET | CU240D-2 PN-F PP | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | -
FSB | 3 | 7.7 | 6SL3525-0PE23-0AA1 | 6SL3544-0FB21-1FB0 | PROFINET | CU240D-2 PN-F PP | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3805 | 3RV2011-4AA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | -
FSC | 4 | 10.2 | 6SL3525-0PE24-0AA1 | 6SL3544-0FB21-1FB0 | PROFINET | CU240D-2 PN-F PP | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | 6SL3500-0SF01-0AA0
FSC | 5.5 | 13.2 | 6SL3525-0PE25-5AA1 | 6SL3544-0FB21-1FB0 | PROFINET | CU240D-2 PN-F PP | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | 6SL3500-0SF01-0AA0
FSC | 7.5 | 19 | 6SL3525-0PE27-5AA1 | 6SL3544-0FB21-1FB0 | PROFINET | CU240D-2 PN-F PP | Fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3812 | 3RV2021-4PA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | 6SL3500-0SF01-0AA0
FSA | 0.75 | 2.2 | 6SL3525-0PE17-5AA1 | 6SL3546-0FB21-1PA0 | PROFIBUS DP | CU250D-2 DP-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSA | 1.5 | 4.1 | 6SL3525-0PE21-5AA1 | 6SL3546-0FB21-1PA0 | PROFIBUS DP | CU250D-2 DP-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSB | 3 | 7.7 | 6SL3525-0PE23-0AA1 | 6SL3546-0FB21-1PA0 | PROFIBUS DP | CU250D-2 DP-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3805 | 3RV2011-4AA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSC | 4 | 10.2 | 6SL3525-0PE24-0AA1 | 6SL3546-0FB21-1PA0 | PROFIBUS DP | CU250D-2 DP-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 5.5 | 13.2 | 6SL3525-0PE25-5AA1 | 6SL3546-0FB21-1PA0 | PROFIBUS DP | CU250D-2 DP-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 7.5 | 19 | 6SL3525-0PE27-5AA1 | 6SL3546-0FB21-1PA0 | PROFIBUS DP | CU250D-2 DP-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3812 | 3RV2021-4PA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSA | 0.75 | 2.2 | 6SL3525-0PE17-5AA1 | 6SL3546-0FB21-1FA0 | PROFINET | CU250D-2 PN-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSA | 1.5 | 4.1 | 6SL3525-0PE21-5AA1 | 6SL3546-0FB21-1FA0 | PROFINET | CU250D-2 PN-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSB | 3 | 7.7 | 6SL3525-0PE23-0AA1 | 6SL3546-0FB21-1FA0 | PROFINET | CU250D-2 PN-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3805 | 3RV2011-4AA10 | 6SL3500-0SK01-0AA0 | - | - | -
FSC | 4 | 10.2 | 6SL3525-0PE24-0AA1 | 6SL3546-0FB21-1FA0 | PROFINET | CU250D-2 PN-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 5.5 | 13.2 | 6SL3525-0PE25-5AA1 | 6SL3546-0FB21-1FA0 | PROFINET | CU250D-2 PN-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSC | 7.5 | 19 | 6SL3525-0PE27-5AA1 | 6SL3546-0FB21-1FA0 | PROFINET | CU250D-2 PN-F | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3812 | 3RV2021-4PA10 | 6SL3500-0SK01-0AA0 | - | - | 6SL3500-0SF01-0AA0
FSA | 0.75 | 2.2 | 6SL3525-0PE17-5AA1 | 6SL3546-0FB21-1FB0 | PROFINET | CU250D-2 PN-F PP | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | -
FSA | 1.5 | 4.1 | 6SL3525-0PE21-5AA1 | 6SL3546-0FB21-1FB0 | PROFINET | CU250D-2 PN-F PP | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3803 | 3RV2011-1JA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | -
FSB | 3 | 7.7 | 6SL3525-0PE23-0AA1 | 6SL3546-0FB21-1FB0 | PROFINET | CU250D-2 PN-F PP | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3805 | 3RV2011-4AA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | -
FSC | 4 | 10.2 | 6SL3525-0PE24-0AA1 | 6SL3546-0FB21-1FB0 | PROFINET | CU250D-2 PN-F PP | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | 6SL3500-0SF01-0AA0
FSC | 5.5 | 13.2 | 6SL3525-0PE25-5AA1 | 6SL3546-0FB21-1FB0 | PROFINET | CU250D-2 PN-F PP | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3807 | 3RV2021-4BA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | 6SL3500-0SF01-0AA0
FSC | 7.5 | 19 | 6SL3525-0PE27-5AA1 | 6SL3546-0FB21-1FB0 | PROFINET | CU250D-2 PN-F PP | Basic positioner (EPos) and fail-safe for Safety Integrated | 6SL3255-0AA00-4HA0 | 3RK1922-2BP00 | 3NA3812 | 3RV2021-4PA10 | 6SL3500-0SK01-0AA0 | 6ES7194-4JA50-0AA0 | 6ES7194-4JD50-0AA0 | 6SL3500-0SF01-0AA0